## Slide 1: Rhythms
Analyzing Rhythms (Part 1)
Instructor: Mark Kramer

## Slide 2: Today
Practical notions
Sampling frequency, Nyquist frequency, tapering

## Slide 3: Data is not continuous
Notation: = Data at index n
Consider a small snippet of data
time between samples

## Slide 4: Data is not continuous
= Data at index n
where = sampling interval
where T = total time of observation
x (EEG, LFP, MEG, ...)
= Time at index n,
= Frequency at index j,
Notation

## Slide 5: Discrete time Fourier transform
Fourier transform of the data x.
and
Previously
Now replace :
Compare data V[t] to cosine at frequency , does it match?
????

## Slide 6: Discrete time Fourier transform
Define the parts
FT of x
index j
sum over
all time n
data x
index n
frequency
index j
time
index n
????

## Slide 7: Discrete time Fourier transform
Fourier transform intuition:
Euler’s formula:
So, at each time (index n) multiply data by sinusoids at frequency
Then sum up over all time.
Data as a function of time index n
Data as a function of
frequency index j
Sinusoids at frequency
Euler’s formula
Feynman: “the most remarkable formula in mathematics”

## Slide 8: Discrete time Fourier transform
Fourier transform intuition:
Idea: compare our data to sinusoids at frequency and see how well they “match”.
Good match: =
Bad match: =
big
small
reveals the frequencies that match our data.
Data as a function of time index n
Data as a function of
frequency index j
Sinusoids at frequency

## Slide 9: Spectrum: idea
“Compare” data to sinusoids at different frequencies
Match:
at frequency is large
Mismatch:
at frequency is small
Example:
“Data”
10 Hz cosine
4 Hz
4 Hz does not match data
10 Hz
10 Hz matches data
... small value
... large value
Multiply (+,-,+,-,...) & add
Multiple (+,+,+,+,...) & add
Fourier transform intuition:

## Slide 10: Discrete time Fourier transform
Fourier transform of the data x.
replace with Euler’s formula
Looks like
Sound familiar?
Same idea: compare data to sinusoids and see how well they match

## Slide 11: Spectrum: definition
The power of data x
at frequency index j
Constant that depends on
sampling interval,
duration of recording
FT of
data
Complex
conjugate
of FT of data
Power at frequency indicates how well sinusoids at “match” our data.
Good match  High power at frequency
Previously
Same idea!
(change sign of everywhere)

## Slide 12: Spectrum
... reveals the dominant frequencies that “match” the data.
Important quantities
Frequency resolution: df
Define these two quantities.
5-8 Hz & 60 Hz sinusoids
“match” the sensor data
Nyquist frequency:
100 ms

## Slide 13: Frequencies
Two important quantities
Largest frequency: Nyquist frequency
Frequency resolution
half the sampling frequency
reciprocal of total recording duration
where T = total time of observation
= Frequency at index j,
sampling frequency

## Slide 14: Frequencies
Visualize as a vector
Step forward in intervals of frequency resolution df
... until reaching maximum frequency
then, frequencies are negative, starting with the largest magnitude.
decrease in magnitude until -df
N-2
N-1

## Slide 15: Frequencies
Note: length() = N
length() = N
time and frequency vectors have the same length N
If we record N data points, then we have N frequencies to examine.
Note: Frequencies include negative values.
Consider
Euler’s formula
a real signal
f > 0
f < 0
We need positive & negative frequencies to represent a real signal.

## Slide 16: Frequencies
Note: Frequencies include negative values.
Important fact: when data is real (no imaginary component),
then negative frequency spectrum is redundant.

## Slide 17: Frequencies
Only inspect
Ignore negative frequencies (redundant)
Q: Is real?
A: Yes (in neuroscience)

## Slide 18: Spectrum:
What is df?
frequency resolution
where T = Total duration of recordings.
Ex.
T = 2 s
so df =
0.5 Hz
Q: How do we improve frequency resolution?
A: Increase T or record for longer time.

## Slide 19: Spectrum:
Demand 0.2 Hz frequency resolution
df = 0.2 Hz = 1/T , so T =
Balance resolution requirements with consistency in data.
5 s
But, data may change during longer recordings . . .

## Slide 20: Spectrum:
True signal: fs
What is ?
Nyquist frequency where f0 = sampling frequency.
f0 >> 2 fs
The highest frequency we can observe.
f0 = 2 fs
f0 < 2 fs
Enough to reconstruct signal, but just barely.
High frequency (in data) mapped to low frequency (aliased).
Accurate reconstruction
Sample:
2 samples/cycle
Max freq we can observe at this sample rate!
All hope lost! Indistinguishable from true low frequency signals.
START HERE

## Slide 21: Spectrum:
Frequency resolution
Nyquist
frequency
Duration of recording
Sampling frequency
For finer frequency resolution:
Summary
To observe higher frequencies:
record more data.
increase sampling rate.

## Slide 22: Example
Q. What rhythms dominate?
[Schneider et al, Neuron, 2021]

## Slide 23: Quiz
Require a 2 Hz frequency resolution, and to observe rhythms up to 500 Hz. What is the experiment / recording setup?

## Slide 24: Spectrum: four (important) asides
Units
Scale
Tapers
Spectrogram

## Slide 25: Spectrum: units
Q. What are the units of the spectrum?
“volts squared per Hertz”

## Slide 26: Spectrum: scale
A note on scale . . .
Emphasize lower amplitude signals
60 Hz
?
60 Hz
5-8 Hz
10 log10(Sxx,f)
Sxx,f
Without the decibel scale . . .

## Slide 27
Doing nothing, we make an implicit taper choice . . .
What we’re observing:
. . . Data goes on forever . . .
We get:
0
0
But we observe it in a small window
0
1
Spectrum: tapers
Signal
Rectangle taper
x

## Slide 28
Spectrum we want
The rectangle taper impacts the power spectrum.
Pure
sinusoid
at 20 Hz
Rect
Sharp peak is “smeared out” . . .
sidelobes
sidelobes
Spectrum: tapers

## Slide 29
Rect
Idea: smooth the sharp edges of rectangle taper.
Taper reduces the sidelobes.
Hann Taper
Data
Taper
Compute spectrum of tapered data.
Rect
Hann
Spectrum: tapers

## Slide 30
Good: Reduced sidelobes reveals a new peak.
Rect
Rect
Hann
Lost
Lost
Ex:
  Bad: Broader peaks & lose data at edges.
~12 Hz
“More lives have been lost looking at the [rectangular tapered spectrum] than by any other action involving time series.” [Tukey 1980]
Spectrum: tapers

## Slide 31: Spectrum: spectrogram
Idea: Divide data into smaller intervals, then compute the spectrum in each interval

## Slide 32: Spectrum: spectrogram
Display as
Usually, color
indicates power
spectrogram

## Slide 33: Spectrum: spectrogram
[Shi et al, Epilepsy & Behav Reports, 2022]

## Slide 34
Spectrum: spectrogram

## Slide 35
Spectrum: summary
Data as a function of time index n
Sinusoids at frequency
Frequency resolution
Nyquist
frequency
Units, decibel scale, tapers, spectrograms, ...

## Slide 36: Spectrum practicals